# Chapter8: EV Integration and DER Management

EV/DER integration with new Section8.7.

## 8.1 EV Fleet Modeling

Aggregate

Stochastic

Degradation

SoC

Charging behavior

## 8.2 V2G/G2V

Bidirectional

Power electronics

Transition

Economic

## 8.3 Frequency Regulation

Primary/secondary

Aggregator

Real-time

## 8.4 Load Forecasting

TCN-Transformer

Probabilistic

Ensemble

## 8.5 DER Coordination

Hierarchical

Multi-agent

Market

Grid service

## 8.6 Summary

Transition to Chapter9.

## 8.7 HIL Validation [NEW]

EV V2G with IEEE 39-bus, coordinated on 4-core OPAL-RT.

## References

[1] OPAL-RT EV V2G.

[2] MathWorks #182226.